## Slide 1
Machine Learning in Spectral CT
Hengyong Yu, PhD
University of Massachusetts Lowell
1/21/2020

## Slide 2
1. Introduction
2. Model & Optimization
3. Experiment results
Outline
4. Discussion & Conclusion

## Slide 3
Introduction
Compressive Sensing
Sparsity
Machine Learning
To apply the CS technique in the CT field, the key is to explore the sparsity in a transform domain, and machine learning plays an important role for this goal.

## Slide 4
Introduction
We developed the CS-based interior tomography theory and algorithms to solve the long-standing “interior problem” for high-fidelity local reconstruction
2009

## Slide 5
Introduction
We applied the dictionary learning technique for low-dose CT reconstruction.
2012

## Slide 6
Introduction
Learning based method for imaging biomarkers
Funded Project (NIH/NIBIB R21 EB019074)
Proposal first submission date: Nov. 2013, with Ge Wang at RPI)
2013

## Slide 7
Introduction
2017

## Slide 8
Introduction
2018

## Slide 9
Introduction
2019

## Slide 10
Introduction
Focus of this talk (Under Review)

## Slide 11
Material decomposition:
I. Direct material decomposition methods: directly obtain material components using x-ray spectrum from projections
Pros:
Avoid the x-ray beam hardening artifacts;
Regularization prior can penalize material maps;
Cons:
The real x-ray spectrum is difficult to achieved;
Projection noise can be amplified in projection decomposition;
II. Indirect material decomposition methods: including projection-based and image-based methods
Pros:
The regularization prior can penalize projections or reconstructed map images;
Image-based methods can reduce noise well;
Pros:
Cannot avoid x-ray beam hardening artifacts;
Introduction

## Slide 12
Material decomposition methods:
[4] [ Zhang et al., IEEE T-MI, 2016]
Spectral CT images (attenuation maps at from all energy bins) are available using image reconstruction methods (such as FBP, etc)
Conventional image-domain decomposition
Direct matrix inversion decomposition4
Sensitive to artifacts and noise.
Regularized (model-based) decomposition
Statistical measurement model + Object prior model
Improves image quality and decomposition accuracy
Introduction

## Slide 13
Regularization methods for material decomposition:
[5] [ Tao et al., Physical in medicine and biology, 2018]
Material decomposition with prior knowledge aware iterative denoising (MD-PKAID) 5
Retain structure details by exploring the structural redundancy
The material accuracy and image quality depending on prior image
Density, local joint Sparsity and structural low-Rank (DSR) 6
Artifact reduction with improvement of material accuracy
Ignores the physical effects with many parameters
Validate only on numerical phantom
[6] [ Xie et al., Journal of Nondestructive Evaluation, 2019]
Introduction

## Slide 14
Outline
1. Introduction
2. Model & Optimization
3. Experiment results
4. Discussion & Conclusion

## Slide 15
Model formulation
Material decomposition basic model7
(1)
------ averaged attenuation coefficients of the mth material at nth energy window;
------ material component maps;
------ spectral CT image of the energy window.
The matrix form of Eq. (1) can be formulated as
(2)
.
and represent two tensors;
() and are the mode-3 unfolding of and
[7] [Wu et al., Arxiv, 2019]
[8] [Wu et al, IEEE Access, 2019]

## Slide 16
Model formulation
[7] [ Wu et al., Arxiv, 2019]
Considering noise in the reconstructed images, Eq. (2) can be read as
(3)
can be the Total Variation (TV), non-local mean and block matching frame and so on.
(4)
------ the regularization term
the regularized parameter
the noise level

## Slide 17
Model formulation
Dictionary
The idea of vectoried dictionary learning (DL):
Image patch
Sparse representation
Given a training set of patches, ,( ), the dictionary learning is to solve

## Slide 18
Model formulation
[7] [ Wu et al., Arxiv, 2019]
The conventional dictionary learning based image-domain material decomposition can be expressed as
(5)
The data fidelity term
Dictionary learning regularization term
------ mth channel of material images
------sparse representation coefficients for ith image patch from mth material image
------the ith image patch extraction operator from
------the trained dictionary for mth material
the regularized parameter for mth material

## Slide 19
Model formulation
[7] [ Wu et al., Arxiv, 2019]
Cons of conventional dictionary learning based image-domain material decomposition:
Because a specific material map may only contain a few image features, it is difficult for the trained to encode the image features and reduce sparse level;
training different is time consuming;
the correlation between different material maps will be lost
(b)
(c)
(a)
Soft tissue[0 1]
Iodine [0 0.012]
Bone [0 1]
Three basis materials of numerical mouse

## Slide 20
Model formulation
[7] [ Wu et al., Arxiv, 2019]
Solution
Training a unified dictionary using image patches from all material images;
The normalization strategy is operated on the training material image to avoid the data inconsistency of material images;
The conventional dictionary learning based image-domain material decomposition can be expressed as
(6)
The data fidelity term
Dictionary learning regularization term
------the trained unified dictionary

## Slide 21
Model formulation
[7] [ Wu et al., Arxiv, 2019]
Additional conditions
If the air is also treated as one basis material, the summation of pixel values of different material images at the same location should be equal to one, i.e.,
(7)
is the air map and represents the binary pixel value at location. A threshold method is applied to determine the air map (0 or 1).
The pixel value within should be in the range of [0 1],i.e.,
(8)

## Slide 22
Model formulation
[7] [ Wu et al., Arxiv, 2019]
Considering Eqs. (7) and (8), the proposed dictionary learning based image-domain material decomposition (DLIMD) method can be formulated as
(9)
Pros:
can fully encode similarities within different material images;
can enhance the redundancy with the trained dictionary ;
save training time to some extent in practice.

## Slide 23
Optimization
[7] [ Wu et al., Arxiv, 2019]
Introducing tensor to replace , Eq. (9) can be converted into
(10)
Eq. (10) can be divided into two sub-problem
(11a)
(11b)

## Slide 24
Optimization
As for Eq. (11a), it can be simplified as7
(12)
For Eq. (11b) can be divided into the following problem
(13)
where , the Eq. (13) can be solved by using the method in [8]
Eq. (12) is a constrained least square problem and it can be easily solved.
[7] [ Wu et al., Arxiv, 2019]
[9] [ Wu et al., APM, 2018]

## Slide 25
Outline
1. Introduction
2. Model & Optimization
3. Experiment results
4. Discussion & Conclusion

## Slide 26
Implementation
[7] [ Wu et al., Arxiv, 2018]
Comparisons: Direct inversion (DI) method, total variation material decomposition (TVMD) method
The iteration number is 30 and the parameters in Table I
Parameters |  | L | Patch Size | 
Numerical mouse | 310-5 | 3 | 10x10 | (0.02, 0.057, 0.0025)
Physical phantom | 0.003 | 10 | 8x8 | (0.08, 0.03, 0.0025)
Preclinical experiment | 0.001 | 12 | 8x8 | (0.004,0.012,0.05)
Parameters |  | L | Patch Size | 
Numerical mouse |  | 3 | 10x10 | (0.02, 0.057, 0.0025)
Physical phantom | 0.003 | 10 | 8x8 | (0.08, 0.03, 0.0025)
Preclinical experiment | 0.001 | 12 | 8x8 | (0.004,0.012,0.05)
The number of atoms within the dictionary are set as 512 and Image patches are 10000, patch stride 11
Other parameters are in the following Table

## Slide 27
Implementation
[7] [ Wu et al., Arxiv, 2018]
Three indexes, i.e., RMSE, PSNR and SSIM are employed
The unified dictionaries used in numerical mouse, physical phantom and preclinical experiment
The dictionaries are trained from DI results of numerical mouse, physical phantom and preclinical experiment

## Slide 28
Section I: Numerical mouse
1
The display windows of 1st-3rd columns are [0.01, 0.2], [0.25 0.55] and [0.0007 0.003]
Material decomposition from FBP mouse results
Bone
Soft tissue
Iodine
True
DI

## Slide 29
Section I: Numerical mouse
[8] [ Wu et al., APM, 2018]
The display windows of 1st-3rd columns are [0.01, 0.2], [0.25 0.55] and [0.0007 0.003]
Material decomposition from FBP mouse results
TVMD
DLIMD

## Slide 30
 |  | RMSE(10-2) | PSNR | SSIM
Bone | DI | 8.719 | 21.191 | 0.9314
 | TVMD | 8.279 | 21.641 | 0.9439
 | DLIMD | 7.873 | 22.077 | 0.9461
Soft tissue | DI | 13.890 | 17.146 | 0.7834
 | TVMD | 12.910 | 17.782 | 0.8491
 | DLIMD | 12.368 | 18.154 | 0.8646
Iodine contrast agent | DI | 0.0853 | 61.380 | 0.9056
 | TVMD | 0.0734 | 62.682 | 0.9214
 | DLIMD | 0.0688 | 63.251 | 0.9393
Section I: Numerical mouse
Table I. Quantitative evaluation results of three basis materials.

## Slide 31
Section II: Physical phantom
Water
Aluminum
5mg/uL
Iodine
10mg/uL
Iodine
15mg/uL
Iodine
(a)
(b)
(c)
PCD
Experiment set-up
Setups of physical phantom experiments. (a) is the spectral CT system, (b) and (c) represent the physical phantom.
A micro-focus x-ray source (YXLON, 225Kv)
A flat-panel PCD (Xcounter, XC-Hydra FX20)
2048 detector cells, 1080 views, 137kV, SOD: 182.68mm, SDD:440.50mm
256x256 image size

## Slide 32
Section II: Physical phantom
Material decomposition results
ROI1
ROI2
ROI3
ROI4
ROI5
Aluminum
Water
Iodine
DI
From left to right, the columns represent the decomposition results of aluminum, water and iodine, where the display windows are [0.5 1], [0.8 1] and [0 0.003].

## Slide 33
Section II: Physical phantom
Material decomposition results
Aluminum
Water
Iodine
TVMD
From left to right, the columns represent the decomposition results of aluminum, water and iodine, where the display windows are [0.5 1], [0.8 1] and [0 0.003].

## Slide 34
Section II: Physical phantom
Material decomposition results
Aluminum
Water
Iodine
DLIMD
From left to right, the columns represent the decomposition results of aluminum, water and iodine, where the display windows are [0.5 1], [0.8 1] and [0 0.003].

## Slide 35
Table II. Quantitative evaluation results of ROI 1-5
Section II: Physical phantom
 |  | RMSE(10-4) | PSNR | SSIM
ROI-1 | DI | 889 | 21.026 | 0.9882
 | TVMD | 861 | 21.299 | 0.9882
 | DLIMD | 828 | 21.635 | 0.9925
ROI-2 | DI | 324 | 29.796 | 0.9732
 | TVMD | 291 | 30.718 | 0.9913
 | DLIMD | 271 | 31.329 | 0.9977
ROI-3 | DI | 5.253 | 65.593 | 0.4118
 | TVMD | 2.196 | 73.169 | 0.7588
 | DLIMD | 1.812 | 74.839 | 0.8483
ROI-4 | DI | 6.854 | 63.281 | 0.6200
 | TVMD | 3.009 | 70.431 | 0.8625
 | DLIMD | 2.399 | 72.400 | 0.9165
ROI-5 | DI | 12.530 | 58.041 | 0.6204
 | TVMD | 7.780 | 62.180 | 0.8549
 | DLIMD | 7.639 | 62.340 | 0.8945

## Slide 36
Section III: Preclinical experiment
(a)
(b)
(c)
(d)
(e)
PCD : PILATUS3 with 4 energy-channels by DECTRIS; It consists of 515 cells and each has a length of 0.15 mm
Projection view is 720 and SOD= 35.27 cm, SDD= 43.58 cm
The size of each material image is 512512
Preclinical experiment. (a) is the preclinical specimen fixed on the spectral CT system. (b)-(e) are FBP reconstruction results from 4 energy bins, where the display window is [0 0.5] cm-1

## Slide 37
Section III: Preclinical experiment
Material decomposition results
ROI 6
A
B
C
D
E
TVMD
DLIMD
DI
Bone
Soft tissue
Iodine contrast agent
The 1st-3rd rows represent the bone, soft tissue and iodine with the display windows [0.25 0.5], [0.85 0.95] and [0.0018 0.005].

## Slide 38
Section III: Preclinical experiment
Material decomposition results
The 1st-4th rows represent the ROIs marked with “A”, “B”, “C” and “D”, where the display windows are [0.29 0.33], [0.85 0.95], [0.85 0.95] and [0.85 0.95].
DI
TVMD
DLIMD

## Slide 39
Outline
1. Introduction
2. Model & Optimization
3. Experiment results
4. Discussion & Conclusion

## Slide 40
Discussion and conclusion
Discussion
Parameters are chosen empirically in the proposed DLIMD
The numerical mouse and two real datasets only contain three different basis materials, however the imaging objects may contain multiple (greater than 3) materials
Conclusion
Considering the similarities of different material images, we construct a unified dictionary to encode material image sparsity by training a set of image patches
Formulating a DLIMD mathematical model by enhancing sparsity of material maps with the dictionary
additional constraints are incorporated into the model to further improve the decomposition accuracy

## Slide 41
Question?